## RFP_023690
RFP_023690 |  |  |  |  | Name and address of the Supplier
VAT number of the Supplier
| Name of the product | Description of the product | Amount | NECESSARY REQUIRMAENTS | SUPPLIER'S PRODUCT NAME | SUPPLIER'S PRODUCT DESCRIPTION | Number of units | Currency | Net unit price | Total net price. Delivery shall be made at Supplier's cost. | Delivery time [days] | Date of payment [days] | Justification for product equivalence
1 | In-Check DIAL G16 | The Inhaler Training Device is used for coaching patients to use their DPI (Dry Powder Inhalers). The device measures peak inspiratory flow rate, and can simulate the resistance characteristics of the specific inhaler of a patient. The patient can then be trained to inhale at a flow rate known to be suitable for their personal inhaler There are six resistance groups, five of which relate to dry powder inhalers (DPIs) and one of which to pressurised metered dose inhalers (pMDIs). | 31 | The equiment must be adjusted to accurately simulate the resistance of Handihaler®, Diskus® and Ellipta® inhaler devices. The equiment should categorizes inhalers by resistance. Measurement Range: 15 - 120 L/min Accuracy: ±10% or 10 L/min Repeatability: 5 L/min Lead time max 25.05.2023
2 | one-way valved inspiratory disposable adult mouthpiece compatibl with In-Check DIALG16 | Disposable One-way valve inspiratory mouthpieces help reduce risk of cross-infection to protect patient and equipment from contamination by preventing blowback. | 200 | Disposable One Way Valve Adult Inspiratory Mouthpieces for In-check Dial or equivalent device, Dimensions: diameter: 3.0 cm Lead time max 25.05.2023